## Sheet1
| EAS | ELSA | ILSE | LASA | Nuage | OCTO-Twin | RADC (MAP) | SATSA
Pulmonary Function | Pulmonary function (e.g., PEF, FEV): These measures were based on results from having the participant blow as hard and as fast as possible into a peak flow meter. Peak flow results for each measure are the best out of three trials. | Forced Expiratory Volume (FEV). The volume in litres expelled in the first second of a forced expiration was measured in litres. A Spirometer (Vitalograph Micro) was used. Three measurements were taken and the highest score was used as the valid value. High values indicate better lung function. Data for FEV is available for wave two, four, six. Forced Vital Capacity (FVC). The full volume expelled following a maximum inspiration was measured in litres. A Spirometer (Vitalograph Micro) was used. Three measurements were taken and the highest score was used as the valid value. High values indicate better lung function. Data for FVC is available for wave two, four, six. Peak Expiratory Flow (PEF). The fastest rate of exhalation recorded in litres per minute. A Spirometer (Vitalograph Micro) was used. Three measurements were taken and the highest score was used as the valid value. High values indicate better lung function. PEF is only available at wave 6 |  | Peak expiratory flow (PEF). PEF (person’s maximum speed of expiration) was measured using the Mini-Wright peak flow meter. Participants were asked to take a maximum inspiration and to breathe out with maximum effort into the peak flow meter. This was repeated three times and the highest score was used in the analyses. PEF data is available at wave B, C, D, E, G, H. |  | Pulmonary function: Peak Expiratory Flow (PEF). The participants breathe in as deeply as they can and then blows out as much as possible. They blew three times and the best value was reported. After 15 minutes, they repeated the procedure | Pulmonary function: Pulmonary function was tested using a hand-held spirometry (MicroPlus Spirometer MS03, MicroMedical Ltd.) which gives measures of forced expiratory volume (liters in one second), forced vital capacity (liters), and peak expiratory flow (liters/second). This device has been validated to American Thoracic Society standards and has been previously used in large epidemiological studies of respiratory function (Bennett et al., 2005). Measures of maximal inspiratory pressure (cm H2O) and maximal expiratory pressure (cm H2O) were taken using a hand-held device containing a pressure-sensitive transducer (MicroMouth Pressure Meter MP01; MicroMedical Ltd.). These are measures of respiratory muscle strength. | Pulmonary function. Spirometric testing was performed during in-person testing on one of two intercalibrated portable 10-1 dry bellows Vicatest spirometers (Mijnhardt, Bunnik, The Netherlands) with subjects in the seated position and their nasal passages blocked with nose clips. Forced expiratory volume during the first second (FEV1) was collected. During the course of the study, it became necessary to change spirometric equipment due to the increasing difficulty of transporting the Vicatest spirometers and the availability of new spirometric equipment that was lighter and easier for the nurses to use. Thus, at IPT3, pulmonary function for 30% of the subjects was measured using the Vicatest, and the remaining subjects were assessed with a portable ML 330 spirometer (Micor Medical, Kent, United Kingdom). The two spirometers were intercalibrated to ensure consistent measurement. FEV1 values for both spirometers were expressed in BTPS (body temperature and pressure saturated with water vapor).
Grip | Muscle strength: Grip strength: Grip strength was measured when the participant was asked to use a grip dynamometer. The process was repeated three times on the participant’s dominant hand and the best of 3 trials was used for analysis. | Grip Strength. Participants were instructed to hold a hand grip for two or three seconds. Three measurements were taken from each hand. Data for grip is available for wave two, four, six. | Grip: Grip strength was measured by having the participants squeeze a vigorimeter with the biggest sized bulb three times for each hand (two practice and four testing values). For each trial the kPa-score was measured. Available at all three waves. | Grip Strength. Grip strength was measured using a strain-gauged dynamometer which was adjusted to each participant’s hand (Takei TKK 5001; Takei Scientific Instruments Co. Ltd., Tokyo, Japan). Two measurements of strength to the nearest 1 kg were taken from the right and left hand. For the purpose of these analyses, the total grip strength score was measured as the sum of the maximum strength value of the left and right hand divided by two (We could also have used the maximum strength out of two attempts of the dominant hand. Something to look into since we are combining data from numerous studies). Grip strength data is available at wave C, D, E, F, G, H. | Strength: Handgrip strength was measured in KPa using a pneumatic dynamometer (Martin Vigorimeter). Three maximal contractions were recorded on both the dominant and the opposite side (Choquette et al. 2010). Our value of grip strength is the average of the best scores of each hand. Grip strength measure was conducted at time 1-2-3 and 4. | Grip strength: The Vigorimeter quantifies grip strength on a manometer that is connected to a middle-sized rubber bulb through a rubber tubing. | Grip strength: Grip strength was measured using the Jamar hydraulic hand dynamometer (Lafayette Instrument, Lafayette, Ind., USA) (Bennett et al., 2005; Buchman, Wilson, Bienias, & Bennett, 2005). Two trials of grip strength were obtained for each hand. A composite measure of grip strength was calculated from the average of the four trials. | Muscle strength. The participants’ grip strength was measured by a hand grip dynamometer by a trained research nurse at the IPT. The participant made six attempts (three with each hand) and the maximum score (in kg) was considered as the participant’s grip strength score.
Walking Speed | Walking speed: Quantitative gait assessment was introduced to EAS between 2001 and 2004. Gait variables were collected using a 12-foot instrumented walkway (180 × 35.5 × 0.25 inches) with embedded pressure sensors (GAITRite, CIR systems, Havertown, PA). Participants were asked to walk on the mat in a well-lit hallway at their normal walking speed two times. Start and stop points were marked by white lines and included a 3 foot distance each for initial acceleration and terminal deceleration. Monitoring devices were not attached to the participants during the test. Gait velocity (cm/second) was computed by the software as dividing the distance covered on two trials by the ambulation time. Excellent reliability and validity for GAITRite assessments were reported in previous research in our center (Verghese et al., 2002) and in other studies (Bilney, Morris, & Webster, 2003). Timed Gait: The timed gait measures included the time taken (in seconds) to walk 20 feet, turn, and return (40 feet total), at the subject’s normal walking pace. (Walking While Talking Tasks: Subjects were timed walking the same course as the timed gait (40 feet), while reciting the letters of the alphabet aloud (WWT-simple). For the WWT-complex task, subjects recited alternate letters of the alphabet (a, c, e . . . ) while walking. WWT and TBMS task order was randomly varied to avoid systematic bias.) | Walking Speed. To assess walking speed, participants were asked to walk a distance of eight feet at their usual pace. Use of walking aids was permitted in the test. Only participants who could complete the task on their own or who were not in danger of falling were asked to take the test. The task was completed twice and the mean of the two measurements was calculated. Data for walking speed is available from wave one to six. |  | Walking Test. For the walking test, participants were instructed to walk three meters, turn around and walk back three meters as quickly as possible. The time taken to accomplish the task was recorded in seconds. Walking Test data is available at wave B, C, D, E, F, G, H | Walking speed at normal and fastest pace. Walking speed at normal pace was measured by recording the time participants took to walk twice at their usual pace, over a 4 meter course. The fastest time of the two trials was kept. Walking speed at fastest pace was assessed by measuring how much time it took participants to walk the same distance as fast as they could (only one time). Walking speed was expressed by dividing the distance (m) by time (ms). | Normal gait and turn, 3m | Walking Speed: Gait speed was measured as the amount of time taken to walk 8 feet. Participants were instructed to walk at a normal pace and given two trials (Bennett et al., 2005). | Walking speed time. Time to walk 3 meters and return was recorded starting at IPT2. The nurse administering the interview used a stopwatch to measure the amount of time it took (in seconds) for the participant to complete this task
TUG |  | N/A | Time Up and Go: Was measured in seconds from standing up out of a chair, walk three meters, go back and sit again. Available at all three waves. | N/A | Timed up and go. Mobility and balance were evaluated by assessing how much time it took for a participant seated on a chair to rise from the chair, walk 3 m at a comfortable and safe pace, return to the chair, and sit down. Timing started at the signal to rise, and stopped when the participant was reseated.
Chair Rise | Chair rise time: Participants were asked to sit in a chair, fold their arms across their chest, and place feet flat on the ground. They were then asked to rise from the chair to a standing position 5 times without using their hands. Timing started as they first start to rise and ends after they are standing for the fifth time. One practice trail is done to assess safety. | Chair Rise. Participants were instructed to stand up from a chair with their arms across their chest. Participants who completed this first task were instructed to stand up and sit as quickly as possible for 5 or 10 times without stopping in between and without using their arms. Data for chair rise is available for wave two, four, six. |  | Chair Stands Test. For the Chair Stands Test, participants were instructed to stand up from a sitting position and sit down five times as quickly as possible with their arms folded across their chest. The time taken to accomplish the five chair stands was recorded and used as a measure of lower extremities functioning. Chair Stands Test data is available at wave B, C, D, E, F, G, H. | Chair stand. Lower body strength, coordination and balance were tested by recording the time participants, initially sitting with their arms folded on their chest, took to stand up and sit down as fast as possible, five times in a row (Payette et al. 2011; Bouchard et al. 2009). Timing began from the initial sitting position and ended at the final standing position at the end of the fifth stand (Podsiadlo & Richardson, 1991; Guralnik et al., 1994). | chair stand, and repeated chair stand. |  | Chair rise time. Time to complete five chair stands is an index of lower body strength and was measured by asking participants to sit in a chair, cross their arms at their chest, and stand up from the chair five times as quickly as possible without using their arms for assistance. Starting with IPT2, the nurse administering the interview used a stopwatch to measure the amount of time it took (in seconds) for the participant to complete this task.
Balance | Tinetti Balance and Mobility Scale: The Tinetti balance and mobility scale (TBMS) was developed to screen for balance and mobility skills in older people and to determine risk for falls (Tinetti et al., 1986; Tinetti et al., 1994). It uses nine tasks assessing mobility and balance in sitting and standing positions, generating scores from 0 to 16. The TBMS is sometimes combined with a gait assessment (Tinetti et al., 1994; Raiche et al., 2000). to improve assessment of fall risk. Flamingo stand time: Participants were asked to stand three separate times on their preferred leg for 10 seconds. The average standing time of the three trails was taken. | Leg Raise Test. The participants were instructed to stand on one leg and lift the other leg as long as possible for a maximum of 30 seconds. The participants were asked to keep their eyes open during the task. Participants who were able to complete the first task were instructed to complete the same task with their eyes closed. Data for the leg raise test is available for wave two, four, six. Balance Test. First, the participants were instructed to complete the side by side tandem task of standing with their feet together, side-by-side, for about 10 seconds. Participants who were able to complete this first task were instructed to complete the semi tandem task of standing with the side of the heel of one foot touching the big toe of the other foot for about 10 seconds. Participants who were able to complete this task, were asked to move on to the full tandem task of standing with the heel of one foot in front of and touching the toes of the other foot for about 10 or 30 seconds. Data for balance is available for wave two, four, six. |  | Standing Balance. For the standing balance test, participants are instructed to keep their feet in the tandem position for 10 seconds. The standing balance test is categoriesd as unable = 0, able to hold position for 3-9 seconds = 2, and able to hold position for 10 seconds = 4. Standing Balance data is available at wave C, D, E, F, G, H. | One leg stand. Unipodal balance was tested by measuring the time a participant, without shoes and with their hands on their hips, could maintain his/her balance on one foot up to a maximum of 60 second. The test was performed twice on both legs. The best performance of each leg was also recorded.[1] | Romberg's test, side by side (looking), right finger to left toe, left finger to right toe,
[5 empty] | [1] In a number of publications, a physical capacity score (PSC) was calculated using the set of five validated physical tests: timed up and go, chair stand, walking speed at normal and fastest pace and one leg stand. Each test was attributed a score of 1 to 4 using quartiles of performance (ex: 4th quartile= 4 points and 1st quartile= 1 point). This PCS is useful when looking at cross-sectional data, but not for longitudinal data. | Upper body strength and flexibility: Lifting a glass, lifting a 1-kg weight, moving the right finger to the left earlobe, pouring water from a jug to a glass, and pouring water from glass to glass (dominant and nondominant hands).